## Sarbai IEN
Information on the availability of free and available capacities, locations, transmission capacities of networks of a natural monopoly
Name of substation | Dispatch Item No. | U, kV | Rated transformer capacity, kVA | Free and available capacity, MW
1 | 2 | 3 | 4 | 5
1150 kV "Qostanay" SS
| АТ-3 | 500/220 | 501 | 0
500 kV "Sunqar" SS
| АТ-1 | 500 | 501 | 104.88
| АТ-2 | 500 | 501 | 103.88
500 kV "Zhetiqara" SS
| АТ-2 | 500/110 | 250 | 93.5
| Т-1 | 110/35 | 60 | 29.4
| Т-2 | 110/35 | 60 | 17.8
220 kV "Qashar" SS
| АТ-1 | 220/110 | 125 | 43.75
| АТ-2 | 220/110 | 125 | 43.75
220 kV "Qaratomar" SS
| АТ-1 | 220/110 | 240 | 85.7
| АТ-2 | 220/110 | 250 | 97
220 kV "Sarybay" SS
| АТ-1 | 220/110 | 250 | 18.5
| АТ- 2 | 220/110 | 250 | 18.5
220 kV "Tobyl" SS
| АТ-1 | 220/110 | 125 | 0
| АТ-2 | 220/110 | 125 | 0
220 kV "Arqalyk" SS
| АТ-1 | 220/110 | 63 | 18.69
| АТ-2 | 220/110 | 63 | 18.69
| Т-1 | 110/10 | 10 | 4.3
| Т-2 | 110/10 | 10 | 5.3