## Akmola IEN
Information on the availability of free and available capacities, locations, transmission capacities of networks of a natural monopoly
Name of substation | Dispatch Item No. | U, kV | Rated transformer capacity, kVA | Free and available capacity, MW
1 | 2 | 3 | 4 | 5
1150 kV "Kokshetau" SS
| АТ-4 | 500/220 | 501 | 5.73
220 kV "Boran" SS
| АТ-1 | 220/110 | 63 | 0
220 kV "Kokshe" SS
| АТ-1 | 220/110 | 125 | 15.25
| АТ-2 | 220/110 | 125 | 14.25
| Т-3 | 110/35 | 16 | 1.58
| Т-4 | 110/35 | 16 | 0.78
500 kV "Yessil" SS
| АТ-500 | 500/220 | 501 | 133.63
| АТ-1 | 220/110 | 125 | 29.75
| АТ-2 | 220/110 | 125 | 30.25
220 kV "Atbasar" SS
| АТ-1 | 220/110 | 63 | 31.69
| АТ-2 | 220/110 | 63 | 28.29
| Т-3 | 110/35 | 20 | 8.9
| Т-4 | 110/35 | 16 | 5.08
500 kV "Qyzylzhar" SS
| АТ-1 | 500/220 | 501 | 188.43
| АТ-2 | 500/220 | 501 | 187.73
220 kV "Taiynsha" SS
| Т-1 | 220/35 | 20 | 8.6
| Т-2 | 220/35 | 25 | 9.75
220 kV "Mussirepov" SS
| АТ-1 | 220/110/35 | 125 | 70.1
| АТ-2 | 220/110/35 | 125 | 64.1
| Т-1 | 110/35 | 16 | 4.93
| Т-2 | 110/35 | 16 | 0.83
500 kV "Aqmola" SS
| АТ-3-500 | 500/220 | 501 | 0
| АТ-4-500 | 500/220 | 501 | 0
| АТ-1-220 | 220/110 | 250 | 0
| АТ-2-220 | 220/110 | 250 | 0
220 kV "Birzhan Sal" SS
| АТ-2 | 220/110 | 125 | 20.69
| АТ-1 | 220/110 | 63 | 41.75
| Т-3 | 110/35 | 10 | 4.8