## Western IEN
Information on the availability of free and available capacities, locations, transmission capacities of networks of a natural monopoly
Name of substation | Dispatch Item No. | U, kV | Rated transformer capacity, kVA | Free and available capacity, MW
1 | 2 | 3 | 4 | 5
220 kV "Inder" SS
| АТ-1 | 220/110 | 63 | 19.69
| AT-2 | 220/110 | 63 | 20.69
220 kV "Atyrau" SS
| АТ-1 | 220/110 | 125 | 28.75
| AT-2 | 220/110 | 125 | 27.75
| Т-3 | 110/35 | 40 | 0
220 kV "Qulsary" SS
| АТ-1 | 220/110 | 63 | 27.69
| AT-2 | 220/110 | 63 | 27.69
220 kV "Teniz" SS
| AT-3 | 220/110 | 125 | 69.5
| AT-4 | 220/110 | 125 | 69.5
| Т-1 | 110/35 | 16 | 7.83
| Т-2 | 110/35 | 16 | 6.83
220 kV "Beyneu" SS
| АТ-1 | 220/110 | 63 | 17.432
| AT-2 | 220/110 | 63 | 17.432
220 kV "SEZ NIPT" SS
| АТ-1 | 220/110 | 250 | 19.5
| АТ-2 | 220/110 | 250 | 33.5